## Slide 1: Incorporating Battery Energy Storage (BESS) in Renewable Energy (RE) Auctions
Luiz Maurer
Asia EDGE Workshop: Best Practices for Designing Competitive Procurement of Renewable Energy, Bangkok Thailand
November 20, 2019
Climate Economic Analysis For Development, Investment, And Resilience (CEADIR) Activity
Photo Credit: Anesco
This presentation was made possible by the support of the American People through the United States Agency for International Development (USAID). It was prepared by Crown Agents USA and Abt Associates. The authors’ views do not necessarily reflect the views of the United States Agency for International Development (USAID) or the United States Government. The author would like to acknowledge the comments of Dr. Eric Hyman (USAID).
Notes: To change this cover photo:
Click on View > Slide Master.
Right click on this photo > Change Picture… > Choose a Picture > Insert.
Click on Picture Tools tab > Crop > drag straight cropping handles to inside edges of white frame. You can resize the photo within shape, while locking the photo’s aspect ratio, by holding shift key and dragging the photo’s round corner handle. You can also use the mouse to drag the photo to desired position within the shape. Click outside the photo.

## Slide 2: Topics for this Presentation
Rationale for battery energy storage systems (BESS)
Case studies of technology-neutral renewable energy (TNRE) auctions that included BESS
Challenges and opportunities for incorporating BESS in TNRE auctions
Recommendations

## Slide 3: Rationale for Battery Energy Storage

## Slide 4: Low Power Prices from RE Auctions Need to Be Considered With Caution
Product bid was usually electricity generated (MWh), but can be new installed capacity (MW)
Electricity generated may not be available when needed or usable on the grid when available (dispatchable)
Early RE auction contracts based on “pay as generated”, without incentives to smooth production
System operators had to add other resources to balance the system and maintain reliability
Should grid operators or energy developers be responsible for smoothing out supply and demand volatility?
  Costs incurred in either case and will need to be recovered
  Which is more efficient?
  How will battery energy storage systems affect this decision?
Notes: Those were acceptable principles, as part of the incentive package to attract RE in the early stages - ok

## Slide 5: Declining Cost of BESS Can Contribute to RE Expansion
Large systems with natural storage (hydropower) can manage production variability relatively easily and cheaply (in the absence of Transmission constraints)
Utilities and system operators face growing difficulties managing intermittency as RE share increases:
  Isolated systems with large share of RE capacity (Hawaii)
  Old generation fleets, with limited flexibility for fast ramp up and down
  Wind turbines and solar inverters not designed to produce ancillary services for managing intermittency and voltage fluctuations
RE costs expected to continue decreasing, so more is likely to come on line

## Slide 6: Pumped Storage Cheapest Now, BESS May Be Competitive by 2024
Source: Eller and Gantlett (2017)

## Slide 7: BESS Suitable for Wide Range of Applications
Source: Eller and Gantlett (2017)

## Slide 8: Li-Ion Batteries Mainly Adopted for Four-Hour Storage To Date
Source: BloombergNEF (2019).

## Slide 9: RE Paired With BESS Can Replace Traditional Thermal Generation in Future
Locations with announced goals to replace thermal generation with RE+BESS driven by economics, policy, and environmental goals
  Australia – Abundant RE resources and an aging fleet of coal plants
  Hawaii – Dependent on thermal generation, has a RPS of 100% by 2045
  California – Retired San Onofre nuclear plant, relative competitiveness of RE + storage versus natural gas peaker plants

## Slide 10: PV With Storage Key to Hawaii’s Goal of 100 Percent RE By 2045
Source: Hawaiian Electric (2019)
Project name | Island | Developer | Size | Storage
Waikoloa Solar | Hawaii | AES | 30 MW | 120 MWh
Hale Kuawehi | Hawaii | Innergex | 30 MW | 120 MWh
Kuihelani Solar | Maui | AES | 60 MW | 240 MWh
Hoohana Solar 1 | Oahu | 174 Power Global | 52 MW | 208 MWh
Mililani I Solar | Oahu | Clearway | 39 MW | 156 MWh
Waiawa Solar | Oahu | Clearway | 36 MW | 144 MWh

## Slide 11: California Moving to RE + Storage Due To Economics, Environmental, and Community Concerns
Source: Bloomberg NEF (2019)
In 2014, Southern California Edison (SCE) competitively contracted for 2,200 MW of power from new resources, including 250 MW of storage
Needed due to closure of San Onofre Nuclear Generating Station and anticipated retirement of older, natural gas generation plants
SCE selected 7 projects with 195 MW of BESS instead of a natural gas peaker plant (Puente)

## Slide 12: Australia Could Replace Coal Generation With RE, Pumped Storage, and BESS
Source: AEMO (2019)

## Slide 13: RE With BESS Competitively Procured in Several Australian States
South Australia: Four projects -- 500 MW of wind, 780 MW of solar, 800 MW of storage
Queensland: Eight projects, -- 400 MW of wind and solar, 100 MW of storage
Australian Capital Territory: 250 MW of wind and solar, 20 MW of storage

## Slide 14: Examples of Renewable Energy Auctions That Included BESS

## Slide 15: Auctions for RE Paired With BESS (I)
Location | Product Auctioned | Type of Contract | Award Criteria | Technology Neutral? | BESS?
Arizona (Tucson Electric Power) | PV and BESS | Blended PPA(*). Contract sets charge and discharge parameters for BESS | Lowest premium to a PV-only PPA | No, only PV and BESS | Yes
Australia | Wind and/or PV storage | Contract for differences | Lowest energy cost | Largely yes, combinations of wind, solar and storage | Yes
Brazil (Roraima) | Capacity and associated electricity | Capacity available 24x7 (lower during off-peak) | Lowest capacity payment | Yes | Yes, one bidder only
California | Capacity and ancillary serv. | Depends on market | Lowest price | Yes | Yes
Chile (Time-Variant) | MWh | Time-variant blocks | Lowest price bid per time block for optimized system | Yes | Possible
Colorado (Public Service of Colorado) | Non-dispatchable generation | Energy | Lowest price | Partially dispatchable generation competition | Yes
Source: Adapted from Maurer and Doyle, forthcoming (*) PPA = Power Purchase Agreement.
Notes: (*) Several auctions have been conducted in both developing and developed countries which have encouraged the joint participation of RE and storage.
(**) Contract for Differences. https://www.epa.gov/greenpower/financial-power-purchase-agreements
(***) FiT or Feed-in tariffs typically use long-term agreements and pricing tied to costs of production for renewable energy producers.

## Slide 16: Auctions for RE Paired With BESS (II)
Location | Product Auctioned | Type of Contract | Award Criteria | Technology Neutral? | BESS Participate?
Hawaii (Various) | PV and BESS | Availability, with adjustments (fee based agreement, or “tolling”) | Price and technical ranking, followed by best final offer | No, only PV and BESS | Yes
India | Peak and off-peak | Energy delivered (peak and off-peak) | Lowest price for peak energy and FiT for off-peak | Largely yes, combinations of wind, solar and storage | Yes, to be auctioned
ISO New England | Capacity during peak hours | Fixed capacity payment | Lowest price | Yes | Yes
Nevada (NV Energy) | PV and BESS | Set PPA price for PV, capacity payment for storage | Lowest energy and capacity payment | No, only PV and BESS | Yes
Thailand | Electric energy by zone | Peak and off-peak | Lowest cost per zone | Yes | Yes, one bidder only
Source: Adapted from Maurer and Doyle, forthcoming.
Notes: Several auctions have been conducted in both developing and developed countries which have encouraged the joint participation of RE and storage.
Peak load contribution (PLC), or installed capacity tag (ICAP tag), is determined by your usage during the single highest peak hour from the previous year. (Source: https://energywatch-inc.com/peak-load-management-primer/)

## Slide 17: Many Types of RE Auctions, Technology-Neutral or Not
Auction Elements
Product auctioned
Auction design
Award criteria
Competition

## Slide 18: Product Auctioned
Electricity, time profiled (i.e. allocated over time intervals)
Peak power
Availability of dispatchable RE + BESS
Capacity and associated electric energy (MWh)
Ancillary services (in different time horizons and smoothing voltage fluctuations
  See slide, “BESS Suitable for Wide Range of Applications”
Types of electricity generated
  Dispatchable – Available 24x7 on operator’s instruction
  Semi-dispatchable – Available on operator’s instruction during peak hours
  Non-dispatchable – Not necessarily available when needed by operator

## Slide 19: RE Auction Design
Technical prequalification
Mostly sealed bid reverse auctions (not dynamic auctions) (*)
In some cases, price and non-price factors weighted (**)
Combinatorial auctions for time-variant contracts (delivery obligations differentiated by hour, daily blocks, or peak and off-peak periods)
Notes: Dynamic auctions, such as descending clock, enable price discovery. Static ones, such as sealed bid, do not.
(**) Contrary to a typical auction, price is not the only criterion and non-price factors are also considered, based on a weighted award formula

## Slide 20: Award Criteria
Lowest bid for electricity
Lowest bid for electricity subject to optimization of power system (model run by regulator)
Lowest capacity payment
Highest price and nonprice weighted score
All territory or zonal based

## Slide 21: Competition
Standalone BESS
BESS paired with one specific RE source
Multiple RE sources (hybrid) and any type of storage
Multiple forms of RE and BESS storage
All technologies, with BESS free to compete
With or without demand response

## Slide 22: Six Business Models for Auctions With BESS
Product | Ancillary services | Peaking | Time-differentiated supply blocks | Semi-dispatchable to firm up renewables | Dispatchable firm energy | Dispatchable capacity and firm energy
Competitors (addition to BESS) | All source and demand response | Comparison with natural gas peakers | All-sources or only RE | Non-BESS storage or hybrid | PV or other renewables | All sources
Geography | ISO-New England | Southern California Edison | Chile, Colombia | Australia, Colorado (USA) India, Mexico, | Thailand | Roraima State (Brazil)
TNRE or TNE? | TNE | TNE | TNE or TNRE | TNRE | TNRE | TNE
Source: Maurer and Doyle, Forthcoming.

## Slide 23: Recommendations for Incorporating BESS in TNRE Auctions

## Slide 24: Status and Enabling Environment for RE and BESS Auctions (I)
Number of operating RE facilities with BESS still limited
  Several RE auctions with storage being designed (Australia, California, India)
  In many cases, BESS was selected storage option (Hawaii)
  Projects tendered and under construction
Technical and economic rationale for BESS paired with RE demonstrated in several projects under development
Several business models and auction designs adopted
  Lack of standardization of contracts, payments, and award criteria
  Multiple combinations of products and services
  Financial community prefers standard products for bankability
Notes: and seem to be sound, in particular considering the expected battery prices for the next 2 or 3 years

## Slide 25: Status and Enabling Environment for RE and BESS Auctions (II)
Learning curve for policymakers, regulators, and developers to improve enabling environment
  Declining cost of BESS relatively recent and still being processed by planners
  Many countries with RE auctions have not allowed developers to bid for portfolio of RE resources or BESS to smooth out intermittency
  Mitigation of intermittency typically managed by system operator due to lack of incentives for developers
Institutional, regulatory, and technical barriers need to be addressed
  Establish grid codes for BESS
  Market rules to monetize benefits of fast response
Notes: We believe it is a matter of time for RE-BESS auctions to take off

## Slide 26: Incorporating BESS in Auction Design (1)
Update least-cost expansion plans for power production to reflect, technology innovations and opportunities from BESS
Design auctions that reward BESS developers for multiple services provided by storage at several time-intervals (value stacking) – for example:
  Peak demand reduction (i.e. charge energy off-peak and discharge during peak hours)
  Fast response reserve
  Frequency regulation
Design Power Purchase Agreements to give incentives for developers to reduce power generation volatility
Notes: Peak demand reduction: Reduction in demand on the utility's system at the times of the utility’s summer peak period or winter peak period. (Zarnikau 2013)
Fast-response reserve has two functions: regulating frequency and offering an emergency reserve. The FRR is provided by several sources, primarily, generator, load shedding and natural fall in demand due to falling system frequency. (Wu, C.C. and N. Chen 2004)
Frequency Regulation: In order to synchronize generation assets for electrical grid operation, the alternating current (AC) frequency must be held within tight tolerance bounds. Different methods available for “frequency regulation” include generator inertia, adding and subtracting generation assets, dedicated demand response and electricity storage. Each of these methods has pros and cons, and the implementation of these methods takes from a millisecond to 20 minutes. (Energy Storage Association 2013)

## Slide 27: Incorporating BESS in Auction Design (2)
Enable participation of hybrid solutions in TNRE auctions (i.e. wind combined with solar)
  Eliminate explicit or hidden barriers to a level playing field for BESS in TNRE auctions
    Acknowledge the value “firmed up” energy in defining the auction product
    The same for fast ramp-up response
  Foster co-location of RE resources and BESS
Learn from diverse experiences with BESS and RE auctions in other countries – an ongoing process
Each region or market will have different system requirements – BESS auctions and BESS business models need to be customized

## Slide 28: References (1)
AEMO. 2018. Building Power System Resilience With Pumped Hydro Energy Storage. Melbourne: Australian Energy Market Operator Limited. https://www.aemo.com.au/-/media/Files/Electricity/NEM/Planning_and_Forecasting/ISP/2019/ISP-Insights---Building-power-system-resilience-with-pumped-hydro-energy-storage.pdf.
Barroso, Luiz and Luiz Maurer. 2011. Electricity Auctions: An Overview of Efficient Practices. Washington, DC: World Bank. http://documents.worldbank.org/curated/en/114141468265789259/Electricity-auctions-an-overview-of-efficient-practices.
BloombergNEF. 2019. “Battery Power's Latest Plunge in Costs Threatens Coal, Gas.” Bloomberg New Energy Finance Blog, June 19. https://www.bloomberg.com/professional/blog/battery-powers-latest-plunge-costs-threatens-coal-gas/.
Eller, Alex and Dexter Gantlett. 2017. Energy Storage Trends and Opportunities in Emerging Markets. Chicago: Navigant Research. Prepared for the International Finance Corporation and Energy Sector Management Assistance Program. https://www.esmap.org/sites/default/files/esmap-files/7151-IFC-EnergyStorage-report.pdf.
Energy Storage Association. 2013. Frequency Regulation. Washington D.C. https://energystorage.org/frequency-regulation/
Goldie-Scot, Logan. 2019. “A Behind the Scenes Take on Lithium-ion Battery Prices.” Bloomberg New Energy Finance Blog, March 5. https://about.bnef.com/blog/behind-scenes-take-lithium-ion-battery-prices/.

## Slide 29: References (2)
Hanley, Steve. 2018. Grid-Scale Battery Storage Accelerating In Colorado & Australia. CleanTechnica.com, October 23. https://cleantechnica.com/2018/10/23/grid-scale-battery-storage-accelerating-in-colorado-australia/
Hawaiian Electric. 2019. New PV-Plus-Storage Benchmarking in Hawaii. Honolulu: Hawaiian Electric. Press release, March 27. https://www.hawaiianelectric.com/six-low-priced-solar-plus-storage-projects-approved-for-oahu-maui-and-hawaii-islands.
IRENA. 2019. Renewable Energy Auctions. Status and Trends Beyond Price: Preliminary Findings. Abu Dhabi: International Renewable Energy Agency. https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2019/Jun/IRENA_Auctions_beyond_price_2019_findings.pdf.
Lawson, Sarah. 2017. Technical Note on the Basics of Competition & Auctions for Renewable Energy. Washington, DC: United States Agency for International Development. https://pdf.usaid.gov/pdf_docs/PA00MG3V.pdf.
Maurer, Luiz and Patrick Doyle. forthcoming. Incorporating Battery Energy Storage Systems (BESS) Into Technology Neutral Renewable Energy Auctions (TNRE). Washington, DC: Crown Agents USA and Abt Associates, Prepared for the USAID.

## Slide 30: References (3)
Rocky Mountain Institute. The Economics of Battery Storage. 2015. Boulder: Rocky Mountain Institute. https://rmi.org/wp-content/uploads/2017/03/RMI-TheEconomicsOfBatteryEnergyStorage-FullReport-FINAL.pdf.
USAID. 2019. “Renewable Energy Auctions Colombia’s Journey.” United States Agency for International Development. https://www.usaid.gov/energy/auction-design-support-colombia/renewable-energy-auctions-redesigned.
Witt, Adam; Norm Bishop; Dol Raj Chalise; Boualem Hadjerioua; and Michael Manwaring. 2016. Development and Implications of a Predictive Cost Methodology for Modular Pumped Storage Hydropower (m-PSH) Projects in the United States. Oak Ridge: Oak Ridge National Laboratory. https://www.osti.gov/biblio/1329154-development-implications-predictive-cost-methodology-modular-pumped-storage-hydropower-psh-projects-united-states.
Wood, Tony; Guy Dondas; and Lucy Percival. 2019. Power Play: How Governments Can Better Direct Australia’s Electricity Markets. Carlton, Australia: Grattan Institute. https://grattan.edu.au/report/power-play/.
Wu, C.C. and N. Chen 2004. Frequency-based method for fast-response reserve dispatch in isolated power systems. Institution of Engineering and Technology. Taipei, Taiwan. https://ieeexplore.ieee.org/document/1262767/authors#authors
Zarnikau, Jay. 2013. History of the Definition of Pea Demand Reduction. Frontier Associates and EnerTreck. https://www.frontierassoc.com/wp-content/uploads/2015/01/EEIPHistoryofDemandReductionDef.pdf

## Slide 31: About CEADIR
Adaptation
Clean Energy
Sustainable Landscapes
Finance
Scalable Climate Change Solutions
CEADIR—Climate Economic Analysis for Development, Investment, and Resilience
USAID-funded, $20.1 million global activity through September 2020
Helps governments, the private sector, and civil society make the business and economic case for climate change mitigation and adaptation actions
Mobilizes access to public and private finance in adaptation, clean energy, and sustainable landscapes to scale up low-carbon, climate resilient development
Can work in Africa, Asia, and Latin America and the Caribbean
www.climatelinks.com/projects/ceadir

## Slide 32
ANNEXES

## Slide 33: RE Auction Volumes Increased as Prices Decreased
Source: IRENA (2019)

## Slide 34: Almost 100 GW of RE Auctioned from 2017-2018
Source: IRENA (2019)

## Slide 35: Battery Solutions for Utilities and Electricity Customers
Source: Rocky Mountain Institute (2015)

## Slide 36: What Are Competitive Procurements and Reverse Auctions?
Methods for purchasing a product or service through an open and competitive process with multiple bidders
Purchase of an energy or capacity product (typically a contract)
A competitive framework is central to the development of a low-cost and high-RE electricity sector.
Provide a vehicle for tendering projects transparently, as opposed to on a bilateral or negotiated basis
Regulator conducts a pre-qualification process prior to the auction to select preferred bidders.
Reverse auction—lowest priced bids win
Sources: Lawson (2017) and Maurer and Barroso (2011)

## Slide 37: USAID Approach to Auctions for Renewable Electric Power
Promotes competitive procurement of renewable energy (RE) to rapidly scale clean energy at low prices
Helps meet economic development and climate change goals
Provides reverse auctions support through bilateral energy programs
May fund activities believed to have the most development impact
Source: Lawson (2017)
Notes: Auctions recently conducted in Mexico, El Salvador, Zambia, Afghanistan, Khazakhstan and other countries have all benefited from some type of USAID support.
From Sarah's Paper: Besides success fees, possibilities include other pre-development activities such as legal consultants, technical studies, environmental studies, social studies, and other options.

## Slide 38: Examples of USAID Support for Renewable Electric Power Auctions
Provided targeted support in Mexico to enhance the quality of auctions and leverage billions of private sector investment
Attracted the first independent power project (IPP) in Afghanistan Power Africa through the U.S. Energy Association (USEA)
Conducted a workshop in Tanzania to assess and discuss their readiness for auctions
Ongoing support to USEA to organize an auction workshop in Kazakhstan
Supported Colombia in the design of an auction IT platform and in reviewing the auction rules
Sources: Lawson (2017) and USAID (2019)
Notes: Partnered with the Afghanistan Electric Utility to structure a competitive procurement.
The exercise generally concludes with the creation of an action plan for performing an auction.

## Slide 39: Auctions in Eight Countries With PV Prices Below $25/MWh
Jordan | China’s Jinko Power | 24.89 | Jordan’s Round III Auction
Tunisia | Scatec Solar | 24.40 | 200 MW project in Tataouine
United Arab Emirates | Abu Dhabi Power Corporation, China’s JinkoSolar and Japan's Marubeni Corp | 24.20 | Sweihan, 1.2 GW
Saudi Arabia | ACWA Power | 23.42 | Sakaka Project, 300 MW
Chile | Enel | 21.48 | Antofagasta, 116 MW
Mexico | Neoen | 18.93 | Pachamama
Brazil (*) |  | 16.95 | 163 MW, Milagres
Portugal (*) |  | 16.48 | 
Source: Maurer and Doyle, forthcoming.

## Slide 40: Australian Coal Plants Nearing End of Useful Life
Source: Wood et al. (2019)

## Slide 41: Examples of RE Auctions With and Without BESS Participation (I)
Locations | Nature of Contract | Description | Technology Neutral | Storage Participation | Level Playing Field for Storage | Type of Award and Payment
Brazil (from 2008-2018), Argentina, Chile (until 2016) | Electricity only (non-firm) | Settlement over long-time interval (> 1 month) | No, only RE | No | No | Two-stage reverse auction. Based on lowest bid for power ($/MWh)
 |  | Energy profiling based on actual generation |  |  |  | 
 |  | RE given priority for grid dispatch |  |  |  | 
Brazil (2019) | Electricityonly (non-firm) | Settlement over long-time interval (> 1 month) | Yes | No | Incentives for hybrid solutions exist, hybrid solutions not allowed to bid | Reverse auction. Based on lowest bid for power ($/MWh)
 |  | Electricity profiling based on load curve, creating mismatches between actual production and contractual obligations |  |  |  | 
Notes: (*) The sequence roughly represents the incentives for participation of BESS (from lowest to greatest)

## Slide 42: Examples of RE Auctions With and Without BESS Participation (2)
Locations | Nature of Contract | Description | Technology Neutral | Storage Participation | Level Playing Field for Storage | Type of Award and Payment
Mexico | Electricity only (non-firm) | Contracts for difference. Price granularity in time and space (locational marginal pricing) | Yes | Yes, in areas with transmission constraints | Yes, possibility of locating storage where locational prices are higher | Reverse auction. Based on lowest bid for power (first auction provided extra points for priority locations). Revenue for generator included “green certificates”
Colombia (since 2006) | Electricity only (during critical periods) | Reliability payment auction with call for power during government-declared critical period (demand peak or supply shortfall from drought) | Yes | No | Yes, but system was chronically short of electricity in dry periods. BESS not suitable for this deep storage | Reverse auction. Award for lowest electricity strike price bidder for option to be dispatched
Chile (since 2017) | Electricity only (firm) | Settlement three times a day (energy blocks) and seasonally. Bids included contract volume obligations for each block | Yes | Yes | YES, but some e benefits of BESS not monetized (e.g., rapid ramp-up rate) | Combinatorial auction. Based on lowest bid for power per time block ($/MWh) minimizing costs to power system (based on optimization model)
Notes: “Green Certificates” are Clean Energy Certificates (Certificados de Energías Limpias or CELs). A CEL is granted per each MW/h of electricity produced by a generator using clean energy technologies

## Slide 43: Examples of RE Auctions With and Without BESS Participation (3)
Locations | Nature of Contract | Short Description | Technology Neutral | Storage Participated | Level Playing Field for Storage | Type of Award and Payment
Thailand (2017) | Capacity and associated (firm) electricity | Contractual obligation to meet load curve requirements for peak and off-peak | Yes | Yes, one bidder (PV+BESS) | Incentive for storage to provide firm electricity in peak hours | Nine simultaneous auctions per zone. Based on largest discount from FiT per zone ($/MWh), adjusted for inflation.
Brazil (Roraima State) (2019) | Capacity and associated (firm) electricity | Contractual obligation to meet load curve requirements 24x7 | Yes | Yes, one bidder (biofuel + PV + BESS) | Incentive for BESS for integration of biofuel generation and PV | Reverse auction. Based on lowest bid for capacity ($/MW)
India (2018) | Electricity only (non-firm) | Renewables no longer had priority dispatch with transmission constraints | No, only renewables | Yes, any form of storage, but prior preference for pumped-storage | Incentives for intra-day storage to shift supply when grid constraints relieved | Reverse auction. Based on lowest bid for peak power. Payment for off-peak power based on FiT.

## Slide 44: Examples of RE Auctions With and Without BESS Participation (4)
Locations | Nature of Contract | Short Description | Technology Neutral? | Storage Participated? | Level Playing Field for Storage? | Type of Award and Payment
Public Service of Colorado (Xcel) (2018) | Energy and capacity (peak) | Joint renewable and storage auctions | NO, only renewables allowed to participate in the non-dispatchable category | YES, but only in non-dispatchable category | Partially, storage + RE not allowed for dispatchable resources | Reverse auction. Based on lowest bid for power
Australia (several states) | Firm energy and capacity | Concern over intermittency of RE supply | Yes, but storage mainly participated in RE auctions (pumped storage and BESS) | Yes, in some cases | Trend for co-located hybrid renewables and storage. Contracts for difference offer incentives for BESS and pumped hydro | Reverse auction. Based on lowest bid for power (US/MWh). Can also participate in ancillary services market.
USA (Most RTOs and ISOs) | Capacity and other ancillary services | Ancillary services for reliable system operation (supply and demand) | No, since technology-specific (including BESS). Exception: New England Power Pool allowed storage with other technologies | Yes, in most cases | FERC Order 841/2018 directed all grid operators to propose models for the participation of storage as a wholesale generation asset | Typically, capacity (US/MW). Revenues may include ICAP and other ancillary services provided
Source: Maurer and Doyle, forthcoming.